## Tables (hidden)
Workbook Lock Configuration |  | Material |  | Shape |  | Type | Design Response | 1 | Lookup Table | Baldwin County | Hoover | Jefferson | Lee County | Mobile | Montgomery | Prattville
Lock Date: | 2027-10-01 | Concrete |  | Rectangle |  | Combination | Parcel No. is not been provided | 2 | (WQ) | 1 | 1.1 | 1.1 | 1.1 | 1.2 | 1.1 | 1.1
Active Months: | 13 | Metal |  | Round |  | Grate | Inlet capacity is not provided | 3 | (2-yr) | 6.02 | 4.11 | 4.14 | 4.12 | 5.7 | 4.24 | 4.21
Override LockD and Time: |  | Other |  | Square |  | Pedestal | Inlet is not privately maintained | 4 | (5-yr) | 7.68 | 5.01 | 5.06 | 5.05 | 7.21 | 5.3 | 5.24
Admin Unlock Code: | bds958hc |  |  | Other |  | Type S (Single Wing) | Inlet is not accesiable for maintenance | 5 | (10-yr) | 9.26 | 5.87 | 5.91 | 5.83 | 8.63 | 6.24 | 6.17
Computed Lock Date and Time: | 2027-10-01 |  |  |  |  | Type S (Double Wing) | Treatment Flow Rate is not provided | 6 | (25-yr) | 11.7 | 7.21 | 7.26 | 6.91 | 10.8 | 7.64 | 7.55
Accepted Flag: | FALSE |  |  |  |  | Other | Bypass flow rate is not provided | 7 | (50-yr) | 13.9 | 8.37 | 8.48 | 7.75 | 12.7 | 8.8 | 8.7
Gate OK: | FALSE | [5 empty] | Latitude and/or Longitude has been entered as text. Change to a number. | 8 | (100-yr) | 16.3 | 9.65 | 9.83 | 8.6 | 14.8 | 10 | 9.93
[7 empty] | Latitude and/or Longitude not provided | 9 | Effective Date: | 2011-01-31 | 1 February 2020 | 1 October 2020 |  | 1 October 2015 | 1 October 2015 | 1 July 2018
[7 empty] | Rim EL. is not provided | 10 | Type: | County | City | County | County | City | City | City
| Acceptance Table | [5 empty] | Sump EL. is not provided | 11 | Maintenance Agreement: | O&M Plan | Covenant | O&M Agreement |  | O&M Agreement | O&M Agreement | O&M Agreement
| Selection Required | [5 empty] | Outlete Pipe Invert EL. is not provided | 12 | Permit Type: |  |  |  |  | Engineering or Building No. | ENG No.
| I ACCEPT | Revision Date: |  | 2026-09-01 |  |  | Diameter or width x length is not provided | 13 | Max Velocity: | 6 | 5 | 5 | 6 | 5 | 6 | 6
| I DO NOT ACCEPT | Select City: |  | Prattville |  |  |  | 14 | Insp Report Due: | 31 December |  |  |  | 31 December | 30 Septbember | 1 September
|  | (WQ) |  | 1.1 | 1.10 |  |  | 15 | Storms: | 2, 5, 10, 25, 50, and 100 | 2, 5, 10, and 25 | 2, 5, 10, 25, 50, and 100 | 2, 5, 10, 25, 50, and 100 | 2, 5, 10, and 25 | 2, 5, 10, and 25 | 2, 5, 10, and 25
|  | (2-yr) |  | 4.21 |  |  |  | 16 | Entity: | Baldwin County | the City of Hoover | Jefferson County | Lee County | the City of Mobile | the City of Montgomery | the City of Prattville
Manufactrurer | Inspections | (5-yr) |  | 5.24
Advanced Drainage Systems | Weekly | (10-yr) |  | 6.17
Contech | Semi-Monthly | (25-yr) |  | 7.55
Filtrexx | Monthly | (50-yr) |  | 8.7
Frog Creek Partners | Quarterly | (100-yr) |  | 9.93
Revel Environmental Manufacturing, Inc. | Semi-Annual | Effective Date: |  | 1 July 2018
SOP Technologies | Annual | Entity Type: |  | City
Other | Other | Maintenance Agreement: |  | O&M Agreement
|  | Permit Type: |  | 0
|  | Max Velocity: |  | 6
|  | Insp Report Due: |  | 1 September
|  | Storms: |  | 2, 5, 10, and 25
|  | Entity: |  | the City of Prattville
Current Logo
Baldwin County
Hoover
Jefferson
|  |  | Lee County | #VALUE!
Mobile
Montgomery
Prattville

## License
| END USER LICENSE AGREEMENT (EULA) |  |  |  | Effective Date: | 2026-09-01
2 |  |  | Acceptance (required): | Selection Required | Expiration Date: | 2027-10-01
2 |  |  | Current Status: | Workbook is Locked and Unavailable
Administrator Code (Hidden):
|  |  | IMPORTANT - READ BEFORE USE: | This workbook and its embedded logic, validators, and scripts (collectively, the "Tool") are proprietary to Hydro, LLC ("Licensor").
By clicking I ACCEPT above, you represent that you are (a) preparing a post-construction submittal for the City of Prattville and/or
maintaining internal records for that submittal; and (b) you have authority to bind your organization ("User"). If you are not
authorized, do not use the Tool.
|  | 1 | Limited License
Licensor grants the User a non-exclusive, non-transferable, non-sublicensable, revocable license to use the Tool soley to prepare
and submit post-construction application materials to the City of Prattville and for the User's internal recordkeeping for those
submissions. All other uses, including redistribution, public posting, training, or use for other agencies, are prohibited unless
agreed in writing.
|  | 2 | Ownership; No Work-for-Hire
The Tool is licensed, not sold. Licensor retains all right, title, and interest in and to the Tool, including all formulas, code,
templates, and documentation. The Tool is not a work made for hire and no implied licenses are granted.
|  | 3 | Restrictions
The User shall not and shall not permit others to: (a) copy, modify, decompile, or reverse-engineer the Tool; (b) remove proprietary
notices, logos, or watermarks; (c) bypass or disable protections; or (d) redistribute the Tool to third parties (other than submitting filled
forms to the City as intended. The City may host and distribute the unmodified Tool to prospective submitters for
the permitted purpose.
|  | 4 | Suspension and Termination
Licensor may suspend immediately if the Tool is misused, compromised, or used in a manner creating security, legal, or reputational risk.
Upon expiration/termination, User shall stop using the Tool, but may retain archive copies of completed submissions an records
created during the Term.
|  | 5 | Public Records Acknowledgment
Outputs and application materials generated with the Tool may be public records of the City of Prattville; the Tool itself
(including templates, code, logic) remains Licensor's proprietary material and is not a public record merely by being used to creat submittions.
|  | 6 | No Professional Services; User Responsibility
The Tool is a convenience aid and does not constitute engineering, legal or compliance advice. The the City of Prattville's standards and
regulations control. User is solely responsible for the accuracy and completeness of all data and deliverables.
|  | 7 | Disclaimers; Limitation of Liability
The Tool is provided "AS IS". Licensor disclaims all warranties, express or implied (including merchantability, fitness for a particular
purpose, and non-infringement.) To the Maximum extent permitted by law, Licensor will not be liable for indirect, incidental,
special, consequential, or punitive damages.
|  | 8 | Injunctive Relief
Unathorized use, copying, or distribution of the Tool will cause irreparable harm for which monetary damages are inadequate;
Licensor may seek injunctive relief in addition to other remedies.
|  | 9 | Feedback
Suggestions or feedback may be used by Licensor without restriction or obligation.
|  | 10 | Governing Law
This License is governed by the laws of Alabama, without regard to conflicts principles. The exclusive venue is the state or federal
courts located in Lee County, Alabama.
|  | 11 | General
This is the entire agreement regarding the Tool, and supersedes prior or contemporaneous terms. If any provision is unenforceable,
it will be limited or severed to the minimum extent necessary. User may not assign this License without Licensor's consent;
Licensor may assign in connection with a merger, acquisition, or sale of assets. Lecensor may issue updated version of the
Tool subject to updated terms, use of a new version constitutes acceptance of its terms.
|  | 12 | Acceptance
By clicking "I ACCEPT", you agree to this License on behalf of your organization.

## General Instructions
General Instructions
1 | Complete Design Form with the required design information. Once the Design Form is completed, most of the Design section of the As-built Form will be prepopulated.
2 | Field Types
Enter data as applicable for the proposed design.
This is a required field. Once a number or text is entered, the green highlight will be removed.
This is a required field. Place an "X" in the appropriate box and the green highlight will be removed. In some cases, the selection is optional. Once an option is completed, additional fields will be highlighted green and in some fields the green highlight will be removed.
|  | Yes | No | Select either "Yes" or "No" by placing an "X" in the appropriate box. Once an "X" is entered, the green highlight will be removed.
If a field is highlighted yellow after a number is entered, the yellow highlight may indicate an error and/or concern. Once the error and/or concern is resolved, the yellow highlight will be removed. All yellow highlighted cells shall be resolved or an explanitation provided prior to completing the form.
This is a calculated field. Once the required information is entered, the orange highlight will be removed.
| Select |  |  | Use the drop down list to select an orifice or weir.
| Shape |  |  | Use the drop down list to select a shape.
| Material |  |  | Use the drop down list to select a material.
3 | The Supplemental Instructions provide additional guidance and design standards.
4 | Once the Design, As-built, or Inspection Forms are completed, there should be no green, yellow, or orange highlighted fields.
5 | Automated Review Checks: Once information and data are entered into the form, the form will check the information entered and identify any potential issues or concerns. Prior to printing the form, all automated comments shall be resolved.
6 | Each Form shall be signed, sealed, and dated by a professional engineer registered in Alabama.

## Form 2H - Design
[17 empty] | Form 2H - Inlet Filter Design Form | [18 empty] | Form 2H - Inlet Filter Design Form
Development Information | [20 empty] | Parcel No.: | [12 empty] | Supplemental Instructions
|  | Name: | [20 empty] | Date:
|  | Address: | [20 empty] | BMP ID: | [10 empty] | General design standards and requirements shall be as follows:
|  |  | Attachments: |  | Design Drawings | [6 empty] | H&H Calculations | [5 empty] | Drainage Basin Maps | [15 empty] | 1 | A inlet filter shall not be located within a floodplain or floodway;
[5 empty] | Manufacturer Data | [6 empty] | Maintenance Plan | [21 empty] | 2 | Installation of an inlet filter shall not adversely impact and/or cause flooding of properties located within, upstream,
|  |  |  | Select Area Units: | ac |  |  | sq-ft | [10 empty] | Total Area: |  |  |  |  | Units? |  |  |  | 1 | 0 |  | EIA = | 0 | ac |  | and/or downstream of the development;
Proposed Impervious Area (PIA) | [18 empty] | Existing Impervious Area (EIA): |  |  |  |  | Units? |  |  |  |  | 0 |  | PIA = | 0 | ac | 3 | Inlet filter shall be privately maintained;
[6 empty] | Buildings / Structures: |  |  |  | Units? |  |  |  | Additional Impervious Area (AIA) = PIA - EIA | [14 empty] | 0 | Units Check | AIA = | 0 | ac | 4 | A stormwater pathway (i.e. piped storm sewer, overland flow, etc.) within the development shall
[6 empty] | Driveways / Sidewalks: |  |  |  | Units? |  |  |  |  | AIA = | 0 |  |  |  | Units? |  |  | AIA = | 0 |  |  | ac | 0 | ac or sq-ft selection | [5 empty] | be provided to convey the discharge resulting from a 100-year, 24-hour storm event in a manner that
[6 empty] | Roads: |  |  |  | Units? |  |  |  | Water Quality Volume (WQv): | [20 empty] | will not adversely impact and/or cause flooding of structures within the development;
[6 empty] | Parking: |  |  |  | Units? |  |  |  |  | WQv = | AIA acres X 1.10 in X 3,630 | [17 empty] | 5 | H&H calculations shall include all the information required to validate information provided on this form i.e. model
[6 empty] | Other: |  |  |  | Units? |  |  |  |  | WQv = | 0 |  |  |  | acres X 1.10 in X 3,630 | [7 empty] | Lat | Long | Lat & Long |  | Lat Text | Long Text |  | network schematic, existing drainage areas, proposed drainage areas, time of concentration, curve number, pre-development
[6 empty] | Total PIA: | 0 |  |  | Units? |  |  |  |  | WQv = | 0 |  |  |  | ft3 | [7 empty] | 0 | 0 | 0 |  | 1 | 1 |  | peak discharges, post-development peak discharges, outlet structure geometry, emergency spillway geometry,
stage-area storage summary, discharge summary, inflow and outflow hydrographs, and outlet velocities.
Catch Basin & Inlet | [33 empty] | 6 | Provide supporting data from the manufracturer.
|  |  | Inlet ID: | [6 empty] | Inlet Type: | [11 empty] | Inlet Capacity: |  |  |  | ft3/sec |  |  |  | Area (ft2) | Area (ft2) | Area (ft2)
|  |  | Material: | [6 empty] | Shape: | [10 empty] | Latitude: | [6 empty] | Dia. | W x L | Diameter | W X L | Use
|  |  | Diameter: |  |  | ft | [14 empty] | Longitude: | [6 empty] | 1 | 1 | 0 | 0 | 0
|  |  | Width: |  |  | ft |  |  |  | Length: |  |  | ft | [14 empty] | 0 | 0 | Sump |  | Rim
|  |  | Sump EL: |  |  | ft |  |  |  | Rim EL.: |  |  | ft | [7 empty] | Privately maintained? |  | Yes |  |  | No |  |  | 0 | 2 | 1 | 2
|  |  |  | Shape |  |  | Diameter |  |  |  | Inv. EL | [9 empty] | Accessible for maintenance? |  | Yes |  |  | No |  |  | Outlet pipe inv.
|  |  | Outlet Pipe: | [5 empty] | in |  |  |  | ft | [14 empty] | 1 | 2 |  | 1 | 1 | 2
|  |  | Inlet Pipe 1: | [5 empty] | in |  |  |  | ft | [14 empty] | 1 |  |  | 1 | 1 | 2
|  |  | Inlet Pipe 2: | [5 empty] | in |  |  |  | ft | [14 empty] | 1
|  |  | Inlet Pipe 3: | [5 empty] | in |  |  |  | ft | [14 empty] | 1
|  |  | Inlet Pipe 4: | [5 empty] | in |  |  |  | ft | [14 empty] | 1
Inlet Filter
|  |  |  | Manufacturer: | [23 empty] | 1
|  |  |  | Product Name: | [11 empty] | Model No.:
[7 empty] | Treatment Capabilities: | [13 empty] | Treatment Flow Rate: |  |  |  | ft3/sec
[9 empty] | Total Suspended Solids | [11 empty] | TSS Filtration Efficiency: |  |  |  | % |  |  |  | 1
[21 empty] | Solids Storage Capacity: |  |  |  | ft3 |  |  |  | 1
Trash and Debris
[9 empty] | Hydrocarbons Oil Removal | [11 empty] | Oil Retention: |  |  |  | oz |  |  |  | 1
[7 empty] | Adjustable Overflow Bypass: |  | Yes |  |  | No | [8 empty] | Bypass Flow Rate: |  |  |  | ft3/sec |  |  |  | 1 |  | 1 | 1 | 2
[7 empty] | Frame Material: | [20 empty] | 1
Manufacturer Recommended Inspection Frequency
[10 empty] | After 24-hour Rainfal Amount: |  |  | in
[10 empty] | Routine Inspections: | [17 empty] | 1
2026-09-01 | [12 empty] | Page 1 of 2
| Name: | 0 | [20 empty] | Date: | 0
[23 empty] | BMP ID: | 0
Comments:
Professional Engineer Certification
By affixing my professional seal and signature on this form, I hereby certify that the inlet filter:
| • | Is designed in accordance with the latest version of the City's requirements;
| • | Provides the required water quality volume (WQv) treatment; and,
| • | Will not adversely impact and/or cause flooding of structures within, upstream, and/or downstream of the
development.
|  |  | Company: | [18 empty] | Seal:
Name:
Address:
|  |  | City: | [7 empty] | State: |  |  |  |  | Zip Code:
Email:
Phone:
|  |  | Signature: | [18 empty] | Date:
Automated Review Checks
[8 empty] | Form Section | Automated Comments | [18 empty] | 10
[8 empty] | Parcel No.: | Parcel No. is not been provided | [18 empty] | 1
[8 empty] | Inlet Capacity: | Inlet capacity is not provided | [18 empty] | 1
[8 empty] | Privately Maintained: | Inlet is not privately maintained | [18 empty] | 1
[8 empty] | Accessable for Maintenance: | Inlet is not accesiable for maintenance | [18 empty] | 1
[8 empty] | Manufacturer's Data: | [19 empty] | 0
[8 empty] | Treatment Flow Rate: | Treatment Flow Rate is not provided | [18 empty] | 1
[8 empty] | Bypass Flow Rate: | Bypass flow rate is not provided | [18 empty] | 1
Catch Basin & Inlet:
[8 empty] | Rim EL.: | Rim EL. is not provided | [18 empty] | 1
[8 empty] | Sump EL.: | Sump EL. is not provided | [18 empty] | 1
[8 empty] | Outlet Pipe Invert EL.: | Outlete Pipe Invert EL. is not provided | [18 empty] | 1
[8 empty] | Diameter / Width x Length: | Diameter or width x length is not provided | [18 empty] | 1
[8 empty] | Location: | Latitude and/or Longitude not provided
[9 empty] | Latitude and/or Longitude has been entered as text. Change to a number. | [18 empty] | 1
2026-09-01 | [12 empty] | Page 2 of 2
Note on AC6: Note: Enter the parcel number with no spaces as shown below: 1234567891234.560
Note on AA15: Note: If there is no EIA, enter 0

## Form 3H - As-built
[16 empty] | Form 3H - Inlet Filter As-Built Certification Form | [20 empty] | Form 3H - Inlet Filter As-Built Certification Form
Development Information | [20 empty] | Parcel No.: | 0 | [7 empty] | 1 |  |  | Supplemental Instructions
|  |  | Name: | 0 | [18 empty] | Date:
|  |  | Address: | 0 | [18 empty] | BMP ID: | 0 | [8 empty] | 1 | The developer / owner shall retain the services of a professional land surveyor to:
| Attachments: |  |  |  |  | As-built Survey |  |  |  |  | As-built H&H Calculations | [7 empty] | O&M Agreement | [7 empty] | Photos | [6 empty] | a. | Perform a field survey of the constructed inlet filter; and,
Catch Basin Inlet Filter | [33 empty] | b. | Develop an as-built drawing.
| Design | [12 empty] | As-Built | [18 empty] | 2 | As-built drawing, at a minimum, shall include the following:
| Catch Basin & Inlet | [7 empty] | Inlet ID: | 0 |  |  |  | Catch Basin & Inlet | [9 empty] | Inlet ID: | [9 empty] | a. | Site features to include but not limited to roads, rights-of-way, property lines, driveways, buildings,
|  |  |  | Material: | 0 |  |  |  | Shape: | 0 | [6 empty] | Material: | [6 empty] | Shape: | [6 empty] | Area (ft2) |  |  |  | parking areas, fences, retaining walls, dumpster pads, etc.
|  |  |  | Diameter: | 0 |  | ft | [9 empty] | Diameter: |  |  | ft | [9 empty] | 1 | 0 |  |  | b. | Storm sewers showing pipes, inlets, junction boxes, outlets, outlet protection, and invert elevations
|  |  |  | Width: | 0 |  | ft |  | Length: | 0 |  | ft |  |  |  |  | Width: |  |  | ft |  |  |  | Length: |  |  |  | ft |  | 1 |  |  |  | c. | Location of the inlet filter, rim elevation, sump elevation, inlet and outlet pipe elevations
|  |  |  | Sump EL: | 0 |  | ft |  | Rim EL.: | 0 |  | ft |  |  |  |  | Sump EL: |  |  | ft |  |  |  | Rim EL.: |  |  |  | ft | [5 empty] | d. | The as-built drawing shall bear the date, seal, and signature of the professional land surveyor.
[5 empty] | Shape |  |  | Diameter |  |  | Inv. EL | [6 empty] | Shape |  |  | Diameter |  |  |  |  | Inv. EL | [6 empty] | 3 | The developer shall retain the services of a professional engineer to:
|  |  |  | Outlet Pipe: | 0 |  |  | 0 | in |  | 0 |  | ft |  |  |  | Outlet Pipe: | [6 empty] | in |  |  |  |  | ft | 1 |  |  |  | a. | Use the as-built drawing to complete Form 3H – Inlet Filter As-built Certification Form;
|  |  |  | Inlet Pipe 1: | 0 |  |  | 0 | in |  | 0 |  | ft |  |  |  | Inlet Pipe 1: | [6 empty] | in |  |  |  |  | ft | 1 |  |  |  | b. | Provide ALL required attachments:
|  |  |  | Inlet Pipe 2: | 0 |  |  | 0 | in |  | 0 |  | ft |  |  |  | Inlet Pipe 2: | [6 empty] | in |  |  |  |  | ft | 1 |  |  |  |  | • | As-Built Survey Drawing(s)
|  |  |  | Inlet Pipe 3: | 0 |  |  | 0 | in |  | 0 |  | ft |  |  |  | Inlet Pipe 3: | [6 empty] | in |  |  |  |  | ft | 1 |  |  |  |  | • | H&H Calculations
|  |  |  | Inlet Pipe 4: | 0 |  |  | 0 | in |  | 0 |  | ft |  |  |  | Inlet Pipe 4: | [6 empty] | in |  |  |  |  | ft | 1 |  |  |  |  | • | Photographs with date and captions
|  |  |  | Latitude: | 0 |  |  |  | Longitude: | 0 | [6 empty] | Latitude: | [6 empty] | Longitude: | [5 empty] | 1 | Lat Text | 1 |  |  | • | O&M Agreement
[30 empty] | 1 | Long Text | 1 | 4 | Photographs, at a minimum, shall include the following:
| Inlet Filter | [12 empty] | Inlet Filter | [19 empty] | a. | General overview of inlet filter
|  |  |  | Manufacturer: | 0 | [11 empty] | Manufacturer: | [12 empty] | 1 |  |  |  | b. | Catch basin where the inlet filter is installed
[5 empty] | 0 | [24 empty] | 1 | 1 |  | 5 | Form 3H – Inlet Filter As-built Certification Form shall be approved by the City prior to:
|  |  |  | Product Name: | 0 | [11 empty] | Product Name: | [16 empty] | a. | The issuance of a Certificate of Occupancy; and/or,
|  |  |  | Model No.: | 0 | [11 empty] | Model No.: | [16 empty] | b. | Prior to approval of the Final Plat.
[9 empty] | Adjustable Overflow Bypass: | 0 | Yes | 0 | No | [10 empty] | Adjustable Overflow Bypass: |  | Yes |  |  | No | 1 | 1
[9 empty] | Treatment Flow Rate: | 0 |  | ft3/s | [11 empty] | Treatment / Design Flow Rate: |  |  |  | ft3/s |  | 1
[9 empty] | Bypass Flow Rate: | 0 |  | ft3/s | [11 empty] | Allowable Peak Inline Flow Rate: |  |  |  | ft3/s |  | 1
| Manufacturer Recommended Inspection Frequency | [12 empty] | Manufacturer Recommended Inspection Frequency
[9 empty] | After 24-hour Rainfal Amount: | 0 |  | in | [11 empty] | After 24-hour Rainfal Amount: |  |  |  | in
[9 empty] | Routine Inspections: | 0 | [13 empty] | Routine Inspections:
Owner's Information
Company:
Address:
|  |  |  | City: | [13 empty] | State: | [6 empty] | Zip Code:
|  |  |  | Contact Name: | [13 empty] | Title:
|  |  |  | Email: | [17 empty] | Phone:
| 2026-09-01 | [11 empty] | Page 1 of 2
|  | Name: | 0 | [20 empty] | Date: | 0
[24 empty] | BMP ID: | 0
| Home Owners Association (HOA) Information | [17 empty] | Not Applicable | [10 empty] | 1
|  |  |  | HOA Name: | [25 empty] | 1
Address:
|  |  |  | City: | [13 empty] | State: | [6 empty] | Zip Code:
HOA Contact:
|  |  |  | Name: | [13 empty] | Title:
|  |  |  | Email: | [17 empty] | Phone:
Comments:
Professional Engineer Certification
By affixing my professional seal and signature on this form, I hereby certify that the inlet filter has been constructed in accordance with the approved design.
|  |  | Company: | [16 empty] | Seal:
Name:
Address:
|  |  | City: | [6 empty] | State: |  |  |  |  | Zip Code:
Email:
Phone:
|  |  | Signature: | [16 empty] | Date:
| 2026-09-01 | [11 empty] | Page 2 of 2
Note on Y26: Note: Enter number in decimal format. Example: 00.000000